**MSAC Application 1797**

**Vibration-Controlled Transient Elastography (VCTE™) for identifying advanced fibrosis in patients with metabolic dysfunction-associated fatty liver disease**

**PICO Set 2**

**VCTE™ for identifying advanced fibrosis in patients with metabolic dysfunction-associated fatty liver disease in specialist care**

# Population

**Describe the population in which the proposed health technology is intended to be used:**

The population in which the investigative technology is intended to be used is patients with metabolic dysfunction-associated fatty liver disease (MAFLD), in order to identify patients with advanced fibrosis (AF) in specialist care. MAFLD is a prevalent condition characterised by excessive fat accumulation, called hepatic steatosis, in the liver due to metabolic dysregulation (Pipitone, Ciccioli et al. 2023). The presence of ≥ 5% hepatosteatosis is a sine qua non for diagnosis irrespective of detection modality (Vaz, Clayton-Chubb et al. 2023).

MAFLD was proposed as a new name for non-alcoholic fatty liver disease (NAFLD) in 2020 by Australian researchers. (Vaz, Clayton-Chubb et al. 2023) (Gofton, Upendran et al. 2023). This change allows for:

1. Multiple overlapping causes and drivers of this disease (Vaz, Clayton-Chubb et al. 2023)
2. Inclusion of patients with some alcohol consumption (Vaz, Clayton-Chubb et al. 2023)
3. Reduced stigma associated with alcoholic liver disease (ALD) (Gofton, Upendran et al. 2023)

MAFLD requires at least one of the following to be present: (1) overweight according to body mass index (BMI) (specific threshold for those of Asian ethnicity versus other ethnicities); (2) type 2 diabetes mellitus (T2DM) as per standard diagnostic criteria; or (3) metabolic ‘dysfunction’ defined by presence of at least two of seven clinical and biochemical criteria. The differences between MAFLD and NAFLD are further detailed in Table 1.

Table 1 Differences in diagnostic criteria between MAFLD and NAFLD and rationale for each

|  |  |  |
| --- | --- | --- |
| MAFLD | NAFLD | Rationale |
| ≥ 5% hepatosteatosis with;1. Overweight—BMI ≥ 23 kg/m2 (Asian population) or ≥ 25 kg/m2 (all other ethnicities)2. T2DM—per standard diagnostic criteria3. Metabolic dysfunction—any ≥ 2 of;(i) Elevated waist circumference: ≥ 90 cm/80 cm (males/females) among Asian population or ≥ 102 cm/88 cm (males/females) among all other ethnicities(ii) Blood pressure ≥ 130/85 mmHg or need for antihypertensive therapy(iii) Plasma triglycerides ≥ 1.70 mmol/L or need for specific lipid-lowering therapy(iv) Plasma HDL-cholesterol < 1.0 mmol/L for males or < 1.3 mmol/L for females or need for specific therapy(v) Prediabetes according to standardised criteria(vi) HOMA-IR score ≥ 2.5(vii) Plasma HS-CRP > 2 mg/L | ≥ 5% hepatosteatosis without any other aetiology of liver disease | For MAFLD;• Name change and diagnostic criteria better encapsulate pathogenesis of disease, namely metabolic dysregulation and insulin-resistance• Inclusive criteria allowing for recognition of co-factors for liver disease which may impact additively or synergistically on natural history and clinical outcomes. This better reflects heterogeneity seen in clinical practice and can positively impact drug trial recruitment• Cut-off for alcohol consumption to discriminate ‘safe’ from ‘excessive’ with regard to steatogenic and fibrogenic potential not well established• Removes potentially stigmatising and trivial terms (i.e., ‘alcoholic’ and ‘non-’)• May lead to greater disease recognition among health professionals beyond hepatologyFor NAFLD;• Concern around impact on stakeholder acceptance, especially industry and regulatory bodies with impact on drug and biomarker discovery, development and acceptance (particularly with currently accepted histologic outcome measures for drug-development)• Uncertainty around what entails ‘metabolic health’ and hence around criterion three (metabolic dysfunction) of proposed diagnostic criteria• Lack of consensus among major hepatological societies |

Abbreviations: MAFLD, metabolic-associated fatty liver disease; NAFLD, non-alcoholic fatty liver disease; BMI, body mass index; HDL, high-density lipoprotein; HOMA-IR, homeostatic model assessment for insulin resistance; HS-CRP, high-sensitivity C-reactive protein
Source: (Vaz, Clayton-Chubb et al. 2023)

Given that most people with NAFLD (>80%) also fulfil diagnostic criteria for MAFLD, and levels of non-invasive liver fibrosis test results are similar between the two definitions, it is likely that literature using the NAFLD definition is applicable to the population defined as having MAFLD (Kemp, Clayton-Chubb et al. 2022, Lim, Tang et al. 2023).

A further nomenclature change, to metabolic-associated steatotic liver disease (MASLD), has recently been proposed because of the concern that the use of “fatty” may be stigmatising (Younossi, Alqahtani et al. 2024). Notably, the definition of MASLD requires exclusion of excessive alcohol consumption (defined as ≥20 g/day for women and ≥30 g/day for men) and alternative forms of liver disease.

Key differences between the three include (Ciardullo, Carbone et al. 2023):

1. NAFLD and MASLD exclude alcohol or hepatitis-related liver disease

2. MAFLD can coexist with hepatitis B or C

Carduiollo et al. show MAFLD and MASLD have higher prevalence rates than NAFLD (Ciardullo, Carbone et al. 2023).

For this application and for consistency, MAFLD is the preferred diagnostic criteria and term as it is more encompassing and aligns with current clinical consensus accepted by the Australian Liver Association and as part of the Gastroenterological Society of Australia (GESA) MAFLD consensus statement (MAFLD Consensus Statement Working Group 2024).

*Progression of metabolic associated fatty liver disease to advanced fibrosis*

As fat continues to accumulate, MAFLD can progress from simple steatosis (fatty liver) to steatohepatitis, characterised by inflammation and liver cell damage. Persistent inflammation and liver cell damage can lead to the activation of hepatic stellate cells, which produce excess extracellular matrix proteins, resulting in fibrosis (Vancells Lujan, Viñas Esmel et al. 2021). Liver fibrosis is typically quantified from a liver biopsy using a staging score that categorises its severity on a graded scale from zero (no fibrosis) to one (mild fibrosis), two (significant fibrosis), three (advanced fibrosis, AF) and four (equivalent to cirrhosis) (Bedossa 2014).

If not adequately treated, approximately one in 5 to 10 people will develop liver fibrosis over time, which can progress to cirrhosis, liver failure or liver cancer. Fibrosis progression in MAFLD is slow, progressing at a rate of around 0.12 stages per year (Gofton and George 2021). However, MAFLD progression is influenced by stage of liver fibrosis.

*Complications of metabolic associated fatty liver disease*

High fibrosis stages are associated with increased liver-related morbidity and all-cause mortality (Vilar-Gomez, Calzadilla-Bertot et al. 2018). Patients with AF are at a higher risk of liver-related events, including cirrhosis and hepatocellular carcinoma (HCC), compared to those with lower fibrosis stages (F0-F2).

MAFLD is not only a hepatic condition but also a multisystem disease (Pipitone, Ciccioli et al. 2023). It is associated with a higher risk of extrahepatic complications, including cardiovascular disease (CVD), T2DM, and various cancers (Pipitone, Ciccioli et al. 2023). These associations are due to the proinflammatory, profibrogenic, and procoagulant systemic environment created by MAFLD (Pipitone, Ciccioli et al. 2023). CVD remains the leading cause of death in MAFLD patients without AF, highlighting the systemic impact of the disease (Hassen, Singh et al. 2022) (Rinella, Neuschwander-Tetri et al. 2023). Death from liver disease predominates in patients with advanced fibrosis. A strong association exists between NAFLD and atherosclerotic heart disease, heart failure, and arrhythmias, particularly atrial fibrillation (Rinella, Neuschwander-Tetri et al. 2023).

*Risk factors of metabolic associated fatty liver disease*

In the Australian population, there are three prominent health issues that have been identified as significant predictors for the progression to AF: obesity, diabetes, and metabolic syndrome. These conditions, along with advanced age, are becoming increasingly prevalent in the Australian population (Adams, Roberts et al. 2020). Specifically, people over 50 years who have had longstanding overweight or obesity (interview with Prof Jacob George, 2024). The major metabolic risk factors are hypertension, T2DM and hyperlipidaemia. Additionally, in woman, a major risk factor is menopause.

**Specify any characteristics of patients with the medical condition, or suspected of, who are proposed to be eligible for the proposed health technology, describing how a patient would be investigated, managed and referred within the Australian health care system in the lead up to being considered eligible for the technology:**

The proposed investigative technology under evaluation in this document is Vibration Controlled Transient Elastography (VCTE™), a non-invasive diagnostic tool that assesses the extent of liver fibrosis. VCTE™ works by generating a mechanical pulse that creates a shear wave through the liver tissue. VCTE™ measures the speed of a mechanically induced shear wave using pulse-echo ultrasonic acquisitions in a much larger portion of the tissue, approximately 100 times more than a liver biopsy core. The speed of the wave correlates directly with liver stiffness - faster speeds indicate stiffer tissue and more advanced fibrosis. This measurement is converted into a numerical value expressed in kilopascals (kPa), known as the Liver Stiffness Measurement (LSM).

Patients that have been assessed and identified with MAFLD show evidence of the presence of hepatic steatosis in addition to one of the following three criteria: overweight/obesity, T2DM, or evidence of metabolic dysregulation (Table 1) (Sangro, de la Torre Aláez et al. 2023).

Currently in Australia, testing and risk stratification of patients with MAFLD is complicated by the lack of reimbursed non-invasive tests (NITs). While the definitive diagnosis of MAFLD requires a liver biopsy which is an invasive procedure that is no longer routinely performed in clinical practice, clinicians rely on sequential non-invasive testing pathways to manage patients appropriately. Use of sequential non-invasive testing pathways have been examined in the GESA MAFLD consensus statement (MAFLD Consensus Statement Working Group 2024). The current standard clinical practice in Australia involves initial first line test in primary care, followed by referral to a liver specialist for further testing and management of all patients with MAFLD.

Initial first line test in the primary care setting typically involves reimbursed blood tests like fibrosis-4 (FIB-4) or aspartate aminotransferase-to-platelet ratio index (APRI) which are scores calculated based on liver function tests (LFTs) and patient characteristics. LFTs such as FIB-4 serve as a rule out test due to their high negative predictive value, low cost and accessibility. Patients with low FIB-4 scores (<1.3) generally don't require additional testing, while those with intermediate or high scores (i.e. FIB-4 between 1.3-2.7) undergo further evaluation by a specialist. This is due to the limited positive predictive value of these blood-based tests. Usually, patients are referred for a second-line test in either an outpatient centre or a private hepatology clinic for a more comprehensive evaluation. The results of these second-line tests, when conducted, take precedence in guiding treatment decisions (interview with Prof James O’beirne, 2024). Once a patient is referred to either a hepatologist or outpatient liver clinic, the proposed health technology would be considered for use by a liver specialist.

Given limited availability of VCTE™ devices in outpatient clinics where they are currently mainly located, Table 2 outlines in detail the criteria for accessing VCTE™ based on time urgency and severity.

Table 2 Criteria to access public outpatient services

|  |  |
| --- | --- |
| Category | Criteria |
| Category 1Recommended to be seen within 30 calendar days. | Abnormal LFTs if any of the following:bilirubin > 34albumin < 35INR > 1.7 and/or platelets are outside normal range in setting of known or suspected liver disease (excluding unconjugated hyperbilirubinemia).Abnormal LFTs associated with new symptoms (e.g. nausea, anorexia) or ≥ 5% unexplained weight loss in past 1 month or ≥ 10% unexplained weight loss in past 6 months.Persisting liver inflammation with ALT > 200 for more than a month.New, abnormal liver function in a pregnant patient. |
| Category 2Recommended to be seen within 90 calendar days. | Liver disease treatment required where outside the scope of the referrer scope of practice.Metabolic syndrome or alcohol dependence suspected and non-invasive serological algorithm (FIB 4) suggestive of cirrhosis (FIB 4 score above 3.5; a threshold where cirrhosis is likely), or elastography or radiologic evidence of cirrhosis. |
| Category 3Recommended to be seen within 365 calendar days. | Metabolic syndrome associated LFTs derangement suspected MAFLD and fibrosis indeterminate (FIB 4 score 1.3 - 3.5) where significant fibrosis and even cirrhosis is possible.Abnormal LFTs and negative liver screen regardless of aetiology, severity or degree of work-up performed.Fibrosis assessment requested (FibroScan referral) when FIB 4 score above 1.3 (indeterminate) or known risk factors for chronic liver disease requiring monitoring (e.g. methotrexate, metabolic-associated steatohepatitis, Hepatitis B). |

Abbreviations: ALT, alanine transaminase; INR, international normalised ratio; LFT, liver function test; FIB 4, fibrosis 4
Source: (NSW Health 2024)

As show in Table 2, There are a variety of tests that can be used to assess liver fibrosis. Liver ultrasound or radiology is commonly recommended when liver disease is suspected in Australia and can detect the presence of steatosis and cirrhosis (Sangro, de la Torre Aláez et al. 2023). Magnetic resonance imaging (MRI) is the most sensitive imaging test for steatosis, and is highly accurate even in mild steatosis, although is not commonly used due to its costs (interview with Prof James O’beirne, 2024). Acoustic radiation force impulse (ARFI) and point or 2D shear wave elastography (SWE) are alternative transient elastography (TE) tools to VCTE™ and are used in public hospital and radiology clinics but are not as well validated (interview with Dr Jess Howell, 2024). VCTE™ is different to alternate TE tools as VCTE™ specifically uses a mechanical pulse to generate shear waves whereas SWE uses focused ultrasound beams to generate shear waves.

Overall, the management of MAFLD focuses on routine blood tests, lifestyle interventions, control of diabetes, and treatment of metabolic risk factors. Patients undergo sequential testing mainly using blood-based serum tests and radiology prior to accessing the proposed health technology. Specific criteria required to access VCTE™ is for patients with a FIB-4 greater than 1.3. There is no Therapeutic Goods Administration (TGA) approved therapy specifically for MAFLD, so the emphasis is on managing the underlying metabolic dysfunction and preventing progression through lifestyle changes and regular monitoring (Sangro, de la Torre Aláez et al. 2023). Repeat testing is recommended every 3 years patients classified as low-risk or a FIB-4 score between 1.3 to 2.7.

**Provide a rationale for the specifics of the eligible population:**

There are several compelling reasons why VCTE™ should have funded access in specialist clinics for MAFLD patients. The absence of early symptoms and limited awareness among both the public and wider healthcare profession can result in MAFLD going undetected for prolonged periods. Approximately one in 5 to 10 people will develop liver fibrosis over time (Gofton and George 2021). Concerningly, incident cases of advanced liver disease and liver-related deaths due to MAFLD are estimated to increase by 85% in Australia between 2019 and 2030 (Adams, Roberts et al. 2020). Due to the asymptomatic nature of MAFLD, and current low surveillance of its hepatic and non-hepatic complications, reducing and monitoring disease burden is necessary to minimise future impacts on the healthcare system.

Hence, there is major concern regarding the management of these patients, especially as morbidity and mortality associated with chronic liver disease is increasing in Australia and worldwide (Adams, Roberts et al. 2020).

Improving detection practices can mitigate future adverse outcomes and aid patient care through various ways.

1. *Early detection and identification of high-risk patients* can identify individuals at high-risk of progressing to more severe liver diseases.
2. *VCTE provides quantitative measurements of liver stiffness*, allowing for more precise risk stratification of patients from simple steatosis to more advanced stages. This helps clinicians identify high-risk individuals who require more intensive monitoring and management. A quantitative increase or decrease in LSM can prompt the initiation of preventive measures and cancer surveillance programs to avert future adverse outcomes.
3. *Addressing the growing burden* patients with MAFLD-related advanced liver disease and deaths projected to increase significantly by 2030, implementing effective testing like VCTE in specialist clinics could help mitigate this growing healthcare burden.

Providing funded access to VCTE in specialist clinics aligns with the goal of improving MAFLD management and reducing its long-term impact on both patients and the healthcare system.

**Are there any prerequisite tests?** (please highlight your response)

Yes No

**Are the prerequisite tests MBS funded?** (please highlight your response)

Yes No

# Intervention

**Name of the proposed health technology:**

The proposed investigative technology is VCTE™ which is exclusively performed by FibroScan® devices.

Previously, VCTE™ was used interchangeably with TE or with the broader term liver elastography in literature.

However, concerns about misuse of VCTE™-based data to strengthen the validity and accuracy of other TE technologies led to exclusive use of VCTE™. Most studies start referring to FibroScan® as VCTE™ in 2014.

**Describe the key components and clinical steps involved in delivering the proposed health technology:**

Patients are required to fast for at least 2 hours before taking the test. Once fasting is complete, they should be placed in a supine position with their right arm positioned behind their head. The test requires a minimum of ten valid readings per patient, with at least a 60% success rate and an interquartile range of ≤30% of the median value being taken (Kemp 2013). LSM is the median of the successful stiffness measurements (target ≥10). The LSM ranges from 2.5 (lowest stiffness) to 75 kPa (highest stiffness).

These devices are designed for use in a medical practice by an operator trained health care professional to measure LSM in patients with MAFLD. Prior to a VCTE™ test, a FIB-4 score greater than 1.3 is required and is outlined in the GESA MAFLD consensus statement (MAFLD Consensus Statement Working Group 2024).

**Identify how the proposed technology achieves the intended patient outcomes:**

VTCE™ will be included in the GESA MAFLD consensus statement, which will align best practice with evidence (MAFLD Consensus Statement Working Group 2024). Securing MBS funding for VCTE™ will ensure that patients can receive evidence-based and effective care for liver disease management. The cost of liver fibrosis diagnostic pathways is a major determinant of government reimbursement and thus uptake by doctors and patients. MSAC considered in Application No. 1366 (Transient Elastography at 50Hz for the diagnosis of liver fibrosis in patients with confirmed Hepatitis B or C, March 2016) that a consequence of any MBS listing would be to extend the use of VCTE™ beyond the public hospital sector where it is already available, to include the private sector, and from the specialist setting to include the GP setting (established in PICO set document 1).

This application represents an initial step towards making VCTE™ more accessible to patients. Greater adoption of VCTE™ will improve patient outcomes by enabling earlier intervention and better management of patients with MAFLD. The prognostic ability of diagnostic tests such as VCTE has been proven and will risk stratify patients and their risk for future liver-related outcomes.

By facilitating these improvements in liver disease diagnosis and management, VCTE™ ultimately aims to reduce the incidence of advanced liver disease, related complications, and mortality in patients with MAFLD.

**Does the proposed health technology include a registered trademark component with characteristics that distinguishes it from other similar health components?** (please highlight your response)

Yes No

**Explain whether it is essential to have this trademark component or whether there would be other components that would be suitable:**

VCTE™ is a proprietary technology trademarked by Echosens and is unique only to the FibroScan® device. The controlled vibration aspect of the technology distinguishes it from other elastography methods such as SWE which is not as well validated as VCTE™ and does not provide comparable benefits.

**Are there any proposed limitations on the provision of the proposed health technology delivered to the patient (For example: accessibility, dosage, quantity, duration or frequency):** (please highlight your response)

Yes No

**If applicable, advise which health professionals will be needed to provide the proposed health technology:**

* Hepatologists
* Gastroenterologists
* Endocrinologists
* Appropriated trained healthcare provider in specialist setting

**If applicable, advise whether delivery of the proposed health technology can be delegated to another health professional:**

In specialist settings, hepatologists and gastroenterologists will be physicians using the device to assess their patients. However, delivery of VCTE can be delegated to any healthcare provider who are appropriately trained to perform the service and interpret the results of the test.

**If applicable, advise if there are any limitations on which health professionals might provide a referral for the proposed health technology:**

VCTE™ is currently available in a small number of privately owned hepatology clinics in metropolitan centres in Australia. It is also mainly in public hospitals and community clinics for drug, alcohol and infectious related diseases (Matthews, MacGilchrist et al. 2019). However, the availability of VCTE for referrals is primarily constrained by device availability and physician expertise. Public hospitals often face significant wait times for VCTE™, sometimes extending beyond three months, which can impact patient management. Specialised clinics in regional areas offer access to VCTE™, but availability is inconsistent.

**Is there specific training or qualifications required to provide or deliver the proposed service, and/or any accreditation requirements to support delivery of the health technology?** (please highlight your response)

Yes No

**Provide details and explain:**

Examinations with VCTE™ is performed by an operator who has been certified by the manufacturer or its approved local representative. In Australia, this is defined as completing a three-hour manufacturer training and 10 conducting supervised scans before a health care professional is trained to do it independently (Armstrong, Corbett et al. 2013).

The process for formal training and quality assurance program is currently under discussion with appropriate clinical bodies to ensure consistent quality and training of healthcare providers The provider aims to finalise this before the MBS item becomes available.

**Indicate the proposed setting(s) in which the proposed health technology will be delivered:** (select all relevant settings)

[x]  Consulting rooms

[ ]  Day surgery centre

[ ]  Emergency Department

[ ]  Inpatient private hospital

[ ]  Inpatient public hospital

[ ]  Laboratory

[x]  Outpatient clinic

[ ]  Patient’s home

[ ]  Point of care testing

[ ]  Residential aged care facility

[ ]  Other (please specify)

**Is the proposed health technology intended to be entirely rendered inside Australia?** (please highlight your response)

Yes No

**Please provide additional details on the proposed health technology to be rendered outside of Australia:**

N/A

# Comparator

**Nominate the appropriate comparator(s) for the proposed medical service (i.e. how is the proposed population currently managed in the absence of the proposed medical service being available in the Australian health care system). This includes identifying health care resources that are needed to be delivered at the same time as the comparator service:**

The clinical utility comparator for VCTE™ in specialist care is ultrasound.

**List any existing MBS item numbers that are relevant for the nominated comparators:**

1. For abdominal ultrasound, MBS item 55036 is used.

**Please provide a rationale for why this is a comparator:**

The rational for ultrasound as a clinical comparator is based on the clinical landscape of liver disease in Australia, the current access issues to VCTE, GESA MAFLD consensus statement and past MSAC liver test applications made to the Department (MAFLD Consensus Statement Working Group 2024).

Ultrasound is widely accessible and routinely used for liver assessment in Australia. It serves as a first-line imaging modality for evaluating liver disease due to its non-invasive nature, it is freely available and a relatively inexpensive imaging modality to detect hepatic steatosis. However, liver ultrasound has its limitations, including a degree of operator dependency in test performance and reduced sensitivity in certain populations, including those with obesity or with mild hepatic steatosis (Hernaez, Lazo et al. 2011).

While VCTE™ are preferred by clinicians in the current clinical landscape, their availability is often limited, especially in rural and remote areas. Currently, there are 200 VCTE machines mainly in metropolitan centres in Australia, with some sites owning multiple devices (Personal Communication with Medical Technologies Australia, 2024). VCTE™ is also limited outside of hospitals and infectious diseases group clinics. Ultrasound is more broadly available across different healthcare settings.

Previous MSAC considerations for Hepascore (Application No. 1446) noted that VCTE is limited in access outside public hospitals and is not considered an appropriate comparator due it’s lack of funding.

 “MSAC noted the pre-MSAC response disagreed on the use of confirmatory testing. MSAC noted the pre-MSAC response considered that transient elastography (FibroScan®) has limited access, however MSAC noted that it is routinely used in public hospitals…

PASC did not consider FibroScan® (transient elastography) an appropriate comparator, as it is not listed on the MBS. Liver biopsy is the reference standard however it is less frequently performed in the current era and it was not considered appropriate as the initial comparator. The Pre-ESC Response (p3) claimed that ultrasound elastography is performed by radiological providers using a liver ultrasound machine and is rebated as a liver ultrasound…

 The pre-ESC response considered that the clinical assessment of patients with Chronic Hepatitis C and Chronic Hepatitis B includes Hepascore, transient elastography (Fibroscan®) or ultrasound elastography where patients receive these services funded through other subsidy arrangements or pay privately.”

**Pattern of substitution – Will the proposed health technology wholly replace the proposed comparator, partially replace the proposed comparator, displace the proposed comparator or be used in combination with the proposed comparator?** (please select your response)

[ ]  None – used with the comparator

[ ]  Displaced – comparator will likely be used following the proposed technology in some patients

[x]  Partial – in some cases, the proposed technology will replace the use of the comparator, but not in all cases

[ ]  Full – subjects who receive the proposed intervention will not receive the comparator

**Please outline and explain the extent to which the current comparator is expected to be substituted:**

VCTE™ is expected to partially displace ultrasound to determine extent of AF and accurate staging of liver fibrosis in people with MAFLD. This was also noted in MSAC application no. 1366 that VCTE™ is unlikely to fully substitute conventional ultrasound due to yielding limited information (p. 11) (Medical Services Advisory Committee 2016).

This is because most NITs have been developed to diagnose AF or cirrhosis at point of care despite its setting. Each non-invasive test has specific advantages and limitations, with no single test being perfect (European Association for the Study of the Liver 2021). Similarly, ultrasound is inaccurate for determining AF and lacks sensitivity for determining cirrhosis (Hetland, Kronborg et al. 2023).

Thus, specific diagnostic NITs such as VCTE™ are required for accurate staging of liver fibrosis in people with MAFLD. Although ultrasound has clinical utility in determining hepatic steatosis and assessing the anatomy of the liver, therefore it is partially displaced in the continuum of care for patients with MAFLD.

# Outcomes

**List the key health outcomes (major and minor – prioritising major key health outcomes first) that will need to be measured in assessing the clinical claim for the proposed medical service/technology (versus the comparator):** (please select your response)

[x]  Health benefits

[ ]  Health harms

[ ]  Resources

[ ]  Value of knowing

**Outcome description – please include information about whether a change in patient management, or prognosis, occurs as a result of the test information:**

*Diagnostic accuracy (Eddowes, Sasso et al. 2019, Kamali, Adibi et al. 2019, Woreta, Van Natta et al. 2022, Kovatsch, Honcharova-Biletska et al. 2023)*

The major expected patient-relevant outcomes associated with using VCTE™ are its superior accuracy compared to clinical assessment. In relation to the current SOC, VCTE™ is anticipated to improve risk stratification of patients with mild disease and AF, thereby providing better opportunities for lifestyle intervention and initiate surveillance for HCC to reduce mortality.

*Prognostic accuracy (Petta, Sebastiani et al. 2021, Ciardullo, Muraca et al. 2023, Vilar-Gomez, Vuppalanchi et al. 2023, Thorhauge, Semmler et al. 2024)*

Accurate prognostication using VCTE™ is important for the diagnosis and risk stratification of MAFLD. VCTE™ allows clinicians to identify patients with AF who are at higher risk for liver-related complications and mortality. This enables more targeted management of high-risk patients. Additionally, predicting outcomes with VCTE™ using LSM provides information on the risk of future liver decompensation events and development of HCC and overall survival. Regular VCTE™ measurements allow clinicians to track changes in liver stiffness over time, providing insight into disease progression or regression in response to interventions.

# Proposed MBS items

**How is the technology/service funded at present? (for example: research funding; State-based funding; self-funded by patients; no funding or payments):**

State-based funding in public hospitals and mobile tests performed in rural and regional areas are funded through local health services.

Self-funded by patients.

**Please provide at least one proposed item with their descriptor and associated costs, for each population/Intervention:** (please copy the below questions and complete for each proposed item)

**Proposed item details**

|  |  |
| --- | --- |
| MBS item number (where used as a template for the proposed item) | MBS item 699 used as a template |
| Category number | Category 1 - to be confirmed  |
| Category description | Professional attendance |
| Proposed item descriptor | Vibration Controlled Transient Elastography at 50 Hz performed by a suitably trained health professional in specialist care for the assessment of liver fibrosis in patients with metabolic dysfunction-associated fatty liver disease in addition to:a. collection of relevant information, including taking a patient history; andb. initiating interventions and referrals as indicated; andc. implementing a management plan; andd. providing the patient with preventative health care advice and information.Used on the liver – 1 service only every 3 year - including interpretation and report |
| Proposed MBS fee | Fee: $141.75 |
| Indicate the overall cost per patient of providing the proposed health technology | Fee: $141.75 |
| Please specify any anticipated out of pocket expenses | N/A |
| Provide any further details and explain | The proposed fee includes:* Conducting VTCE™ scan
* Collect relevant information
* Initiating interventions and referrals as indicated
* implementing a management plan
* Providing the patient with preventative health care advice and information
* Item descriptor comparable to preventative MBS item 699 for a heart health assessment
* Reference fee taken from MBS item 82210 and 104
 |

# Algorithms

**Preparation for using the health technology**

**Define and summarise the clinical management algorithm, including any required tests or healthcare resources, before patients would be eligible for the proposed health technology:**

As outlined in the GESA MAFLD consensus statement for the assessment of patients in primary care, sequential testing and use of a NIT, such as FIB-4, is required to be offered as an initial test to help “rule out” the risk of AF among patients with MAFLD (MAFLD Consensus Statement Working Group 2024).

Depending on first line test results, patients would be eligible for VCTE™. That is, patients with a FIB-4 score between 1.3 and 2.7 should then be eligible for a second-line test with VCTE™ where the device is available.

**Is there any expectation that the clinical management algorithm *before* the health technology is used will change due to the introduction of the proposed health technology?** (please highlight your response)

Yes No

**Describe and explain any differences in the clinical management algorithm prior to the use of the proposed health technology vs. the comparator health technology:**

A first-line FIB-4 score is typically needed before referring patients with MAFLD for a second-line test (Ultrasound or VCTE™). Therefore, no differences in clinical management are expected before using VCTE™ or its comparator.

**Use of the health technology**

**Explain what other healthcare resources are used in conjunction with delivering the proposed health technology:**

No additional healthcare resources are used in conjunction with delivering the VCTE™ service other than a referral from a GP or specialist.

**Explain what other healthcare resources are used in conjunction with the comparator health technology:**

Referral to specialist care and radiology centre that provides liver ultrasound.

**Describe and explain any differences in the healthcare resources used in conjunction with the proposed health technology vs. the comparator health technology:**

*Equipment costs and availability*

Abdominal ultrasound uses standard ultrasound machines that are widely available in most healthcare facilities. Whereas VCTE™ requires the specialised device and is therefore limited by accessibility. However, most specialist liver centres in major cities in Australia have access to VCTE™.

*Time and procedure*An abdominal ultrasound exam roughly takes 30 minutes to perform versus 10 to 20 minutes for a VCTE™ test.

*Operator dependence*Ultrasound requires a degree of radiological expertise, with variability in accuracy noted among less experienced operators (Losurdo, Ditonno et al. 2024)**.** Moreover, ultrasound need to be conducted by radiologists, sonographers or other HCPs with training in ultrasound techniques. VCTE™ is less operator-dependent and easier to use compared to ultrasound, making it a more standardised and reproducible method. Generally, VCTE™ can be operated by trained technicians or nurses with specific training on the device.

**Clinical management after the use of health technology**

**Define and summarise the clinical management algorithm, including any required tests or healthcare resources, *after* the use of the proposed health technology:**

Depending on LSM score derived from VCTE™ test. Patients would be either managed in primary care for low-risk patients or require further specialist monitoring for high-risk patients. In the GESA MAFLD consensus statement this is defined by an LSM ≥ 8 kPa for high-risk patients and an LSM < 8 kPa for low-risk patients (MAFLD Consensus Statement Working Group 2024).

Patients diagnosed with MAFLD will usually undergo further assessment to identify and address underlying causes in primary care such as viral hepatitis, alcohol use, or metabolic factors. Additionally, patients are counselled on lifestyle changes to help slow disease progression, including weight loss, exercise, and reducing alcohol intake if applicable. Patients with MAFLD are recommended to undergo testing every three years with FIB-4 and VCTE™ testing.

Patients with AF are managed on a case-by-case basis by specialists. Additionally, patients with AF (LSM ≥ 8 kPa) and cirrhosis (LSM ≥ 10 kPa) are screened for complications such as liver cancer and portal hypertension.

**Define and summarise the clinical management algorithm, including any required tests or healthcare resources, *after* the use of the comparator health technology:**

After an ultrasound, the use of VCTE™ may be required to further risk stratify patients in specialist care presenting with abnormal liver ultrasound. Especially where there are inconclusive findings.

Similarly, after the comparator health technology, clinicians will focus on lifestyle modifications and addressing associated metabolic conditions. The management strategy typically includes testing every 2-3 years with a FIB-4 and subsequent ultrasound and/or VCTE™ test where available.

Additionally, patients with AF (LSM ≥ 8 kPa) and cirrhosis (LSM ≥ 10 kPa) are screened for complications such as liver cancer and portal hypertension. However, use of comparator technology has limited accuracy in detecting cirrhosis and AF.

**Describe and explain any differences in the healthcare resources used *after* the proposed health technology vs. the comparator health technology:**

Table 3 Differences in healthcare resources after use of VCTE™ versus ultrasound

|  |  |  |
| --- | --- | --- |
|  | **VCTE™ in specialist care** | **Ultrasound** |
| Frequency of follow-up: | Recommended every 3 years for patients with MAFLD | Variable (every 1 to 3 years) |
| Additional testing | N/A | Ultrasound pathway may require subsequent VCTE™ testing, potentially increasing overall resource utilisation |
| Specialist referrals and risk stratification  | VCTE™ pathway likely results in more targeted specialist referrals due to better risk stratificationLow-risk (LSM < 8 kPa): Referred back to primary careHigh-risk (LSM ≥ 8 kPa): Continued specialist monitoring and care | Ultrasound does not provide risk stratification of patients with MAFLD |
| Additional management | VCTE™ pathway may lead to more accurate identification of patients requiring screening for liver cancer and portal hypertension | Similar screening for complications in high-risk patients, but with limited accuracy in detecting advanced fibrosis and cirrhosis |

Abbreviation: LSM, liver stiffness measurement; MAFLD, metabolic dysfunction-associated fatty liver disease; VCTE™, vibration-controlled transient elastography

**Algorithms**

**Insert diagrams demonstrating the clinical management algorithm with and without the proposed health technology:**

**Note:** Please ensure that the diagrams provided do not contain information under copyright.

*Clinical management algorithm with* VCTE™



1Abnormal Ultrasound findings refers to aspects related to fibrosis deposition, namely irregularity of liver profile and heterogeneity of its echotexture.

*Clinical management algorithm without* VCTE™



1Abnormal Ultrasound findings refers to aspects related to fibrosis deposition, namely irregularity of liver profile and heterogeneity of its echotexture.

# Claims

**In terms of health outcomes (comparative benefits and harms), is the proposed technology claimed to be superior, non-inferior or inferior to the comparator(s)?** (please select your response)

[x]  Superior

[ ]  Non-inferior

[ ]  Inferior

**Please state what the overall claim is, and provide a rationale:**

VCTE™ is superior to ultrasound for the detection and risk stratification of intermediate (F2) to AF (F3-F4).

VCTE™ provides quantitative measures of liver stiffness (measured in kPa), which correlates strongly with the degree of liver fibrosis and is highly accurate in identifying advanced fibrosis (F3) and cirrhosis (F4) with validated cut-off values. Ultrasound is qualitative, assessing liver texture, echogenicity, and vascular changes and therefore has poor sensitivity in determining presence of advanced fibrosis.

Additionally, VCTE™ provides valuable prognostic information about the risk of future LREs, including HCC and mortality. Therefore, helping clinicians in timely identification of those at-risk of disease progression and plan appropriate patient management.

**Why would the requestor seek to use the proposed investigative technology rather than the comparator(s)?**

When available, clinicians use VCTE™ rather than ultrasound as a second-line test for assessing liver fibrosis. VCTE™ is more extensively validated and provides superior accuracy, especially for risk stratifying patients with intermediate (F2) to AF (F3-F4) (MAFLD Consensus Statement Working Group 2024). VCTE™ provides numerical values for liver stiffness, allowing for more objective and precise testing of disease progression or regression over time. Unlike ultrasound imaging, which relies heavily on operator interpretation, VCTE™ offers more standardised results.

Similarly, ultrasound is inaccurate for determining AF and lacks sensitivity for determining cirrhosis (Hetland, Kronborg et al. 2023). In contrast, VCTE™ can detect fibrosis more accurately at earlier stages and differentiate between more mild and advanced disease, allowing clinicians to implement treatment and lifestyle modifications to slow or reverse the advancement of advanced chronic liver disease.

Ultrasound as a second-line test would be used as an additional tool in overall management where VCTE™ is not currently available and where patients require assessment of the structural integrity of the liver (Kemp 2013).

**Identify how the proposed technology achieves the intended patient outcomes:**

VCTE™ can assist health care professionals assess the severity of their liver fibrosis and risk of complications through early identification, risk stratification and testing of disease progression. This informs more appropriate management, better referral pathways and treatment decisions to avoid future adverse outcomes.

**For some people, compared with the comparator(s), does the test information result in:** (please highlight your response)

**A change in clinical management?** Yes No

**A change in health outcome?** Yes No

**Other benefits?** Yes No

**Please provide a rationale, and information on other benefits if relevant:**

VCTE™, as a non-invasive and accessible tool for assessing liver fibrosis, can play a crucial role in the early detection and risk stratification of MAFLD patients in primary care and hepatology clinics. With VCTE™, specialists can more confidently refer patients with less severe disease back to primary care for ongoing management, focusing their expertise on high-risk cases.

This is important in the current clinical landscape as the prevalence of MAFLD in the Australian population is expected to increase by 25% from the current burden by the year 2030, with one third of the adult population expected to have MAFLD (Adams, Roberts et al. 2020). The rising disease burden underscores the importance of early risk stratification and prevention strategies to mitigate the strain on hepatology clinics and overall healthcare resources. By facilitating more effective triage and management of MAFLD patients, VCTE™ can play a pivotal role in addressing this growing public health challenge.

**In terms of the immediate costs of the proposed technology (and immediate cost consequences, such as procedural costs, testing costs etc.), is the proposed technology claimed to be more costly, the same cost or less costly than the comparator?** (please select your response)

[ ]  More costly

[ ]  Same cost

[x]  Less costly

**Provide a brief rationale for the claim:**

VCTE™ in primary care is anticipated to be less costly than ultrasound.

Further cost-savings are also anticipated from a reduction of additional tests needed to accurately diagnose liver fibrosis if VCTE™ is funded widely in private hepatology clinics. This is due to the higher accuracy of VCTE™ in assessing liver fibrosis can lead to more definitive results, potentially reducing the need for additional confirmatory tests.

# Summary of Evidence

**Provide one or more recent (published) high quality clinical studies that support use of the proposed health service/technology**

|  | **Type of study design\*** | **Title of journal article or research project (including any trial identifier or study lead if relevant)** | **Short description of research (max 50 words)\*\*** | **Website link to journal article or research (if available)** | **Date of publication\*\*\*** |
| --- | --- | --- | --- | --- | --- |
| 1. | Multicentre cross-sectionalProspective studyDiagnostic accuracy | NCT01985009Accuracy of FibroScan Controlled Attenuation Parameter and Liver Stiffness Measurement in Assessing Steatosis and Fibrosis in Patients With Non-alcoholic Fatty Liver Disease | Diagnostic accuracy of CAP and LSM againstliver histology in patients with NAFLD (n=450). | 10.1053/j.gastro.2019.01.042 | 25 Jan 2019 |
| 2. | Multicentre Cohort studyDiagnostic accuracy | Validation of the accuracy of the FAST™ score for detecting patients with at-risk non-alcoholic steatohepatitis (NASH) in a North American cohort and comparison to other non-invasive algorithms | Assessed FibroScan-AST (FAST™) diagnostic accuracy across different patient populations, and compared performance to other NITs for identifying at-risk NASH (n=585). | 10.1371/journal.pone.0266859 | 15 Apr 2022  |
| 3. | Cohort studyDiagnostic accuracy | Diagnostic Performance of Ultrasonography in Detecting Fatty Liver Disease in Comparison with Fibroscan in People Suspected of Fatty Liver | Liver steatosis stages were recorded using ultrasound and FibroScan. The diagnostic performance of ultrasound was calculated, using FibroScan as the reference method (n = 77) | 10.4103/abr.abr\_114\_19 | 27 Nov 2019 |
| 4. | Observational cohort studyPrognostic accuracy | Using liver stiffness to predict and monitor the risk of decompensation and mortality in patients with alcohol-related liver disease | Evaluated if LSM, using TE, and LSM changes predict decompensation and mortality in patients with alcohol-related liver disease (n = 536). | https://doi.org/10.1016/j.jhep.2024.02.019 | 27 Feb 2024 |
| 5. | Multicentre,retrospective analysisPrognostic accuracy | Monitoring occurrence of liver-related events and survival by transient elastography in patients with non-alcoholic fatty liver disease and compensated advanced chronic liver disease | Investigated in a large cohort of patients with NAFLD and compensated advanced chronic liver disease (n=1039), baseline LSMs and their changes can be used to identify patients at-risk for liver-related and extrahepatic events. | 10.1016/j.cgh.2020.06.045 | 2 Jul 2020 |
| 6. | Systematic review and meta-analysisPrognostic accuracy | Liver stiffness is associated with all-cause mortality in patients with NAFLD: A systematic review and meta-analysis | Several studies reported an association between LSM obtained through VCTE and all-cause mortality in patients with NAFLD. The objective of this systematic review and meta-analysis was to summarise available evidence on the nature and magnitude of this association. | 10.1111/liv.15742 | 19 Sep 2023  |
| 7. | Retrospective cohort studyPrognostic accuracy | CAP and LSM as determined by VCTE are independent predictors of all-cause mortality in the US adult population | Study on CAP and LSM to predict mortality in a prospective US cohort at a population level (n=4192). | 10.1097/HEP.0000000000000023 | April 2023 |

*\* Categorise study design, for example meta-analysis, randomised trials, non-randomised trial or observational study, study of diagnostic accuracy, etc.*

*\*\*Provide high level information including population numbers and whether patients are being recruited or in post-recruitment, including providing the trial registration number to allow for tracking purposes. For yet to be published research, provide high level information including population numbers and whether patients are being recruited or in post-recruitment.*

*\*\*\* If the publication is a follow-up to an initial publication, please advise. For yet to be published research, include the date of when results will be made available (to the best of your knowledge).*

**References**

Adams, L. A., S. K. Roberts, S. I. Strasser, S. E. Mahady, E. Powell, C. Estes, H. Razavi and J. George (2020). "Nonalcoholic fatty liver disease burden: Australia, 2019-2030." J Gastroenterol Hepatol **35**(9): 1628-1635.

Armstrong, M. J., C. Corbett, J. Hodson, N. Marwah, R. Parker, D. D. Houlihan, I. A. Rowe, J. M. Hazlehurst, R. Brown, S. G. Hubscher and D. Mutimer (2013). "Operator training requirements and diagnostic accuracy of Fibroscan in routine clinical practice." Postgrad Med J **89**(1058): 685-692.

Bedossa, P. (2014). "Utility and appropriateness of the fatty liver inhibition of progression (FLIP) algorithm and steatosis, activity, and fibrosis (SAF) score in the evaluation of biopsies of nonalcoholic fatty liver disease." Hepatology **60**(2): 565-575.

Ciardullo, S., M. Carbone, P. Invernizzi and G. Perseghin (2023). "Exploring the landscape of steatotic liver disease in the general US population." Liver International **43**(11): 2425-2433.

Ciardullo, S., E. Muraca, F. Zerbini and G. Perseghin (2023). "Liver stiffness is associated with all-cause mortality in patients with NAFLD: A systematic review and meta-analysis." Liver International **43**(12): 2604-2610.

Eddowes, P. J., M. Sasso, M. Allison, E. Tsochatzis, Q. M. Anstee, D. Sheridan, I. N. Guha, J. F. Cobbold, J. J. Deeks, V. Paradis, P. Bedossa and P. N. Newsome (2019). "Accuracy of FibroScan Controlled Attenuation Parameter and Liver Stiffness Measurement in Assessing Steatosis and Fibrosis in Patients With Nonalcoholic Fatty Liver Disease." Gastroenterology **156**(6): 1717-1730.

European Association for the Study of the Liver (2021). "EASL Clinical Practice Guidelines on non-invasive tests for evaluation of liver disease severity and prognosis – 2021 update." Journal of Hepatology.

Gofton, C. and J. George (2021). "Updates in fatty liver disease: Pathophysiology, diagnosis and management." Australian Journal for General Practitioners **50**: 702-707.

Gofton, C., Y. Upendran, M. H. Zheng and J. George (2023). "MAFLD: How is it different from NAFLD?" Clin Mol Hepatol **29**(Suppl): S17-s31.

Hassen, G., A. Singh, G. Belete, N. Jain, I. De la Hoz, G. P. Camacho-Leon, N. K. Dargie, K. G. Carrera, T. Alemu, S. Jhaveri and N. Solomon (2022). "Nonalcoholic Fatty Liver Disease: An Emerging Modern-Day Risk Factor for Cardiovascular Disease." Cureus **14**(5): e25495.

Hernaez, R., M. Lazo, S. Bonekamp, I. Kamel, F. L. Brancati, E. Guallar and J. M. Clark (2011). "Diagnostic accuracy and reliability of ultrasonography for the detection of fatty liver: a meta-analysis." Hepatology **54**(3): 1082-1090.

Hetland, L. E., T. M. Kronborg, M. Thing, M. P. Werge, A. E. Junker, E. B. Rashu, M. B. O'Connell, B. H. Olsen, A. H. Jensen, N. J. Wewer Albrechtsen, S. Møller, L. Hobolth, C. Mortensen, N. Kimer and L. L. Gluud (2023). "Suboptimal diagnostic accuracy of ultrasound and CT for compensated cirrhosis: Evidence from prospective cohort studies." Hepatol Commun **7**(9).

Kamali, L., A. Adibi, S. Ebrahimian, F. Jafari and M. Sharifi (2019). "Diagnostic Performance of Ultrasonography in Detecting Fatty Liver Disease in Comparison with Fibroscan in People Suspected of Fatty Liver." Adv Biomed Res **8**: 69.

Kemp, W., D. Clayton-Chubb, A. Majeed, K. M. Glenister, D. J. Magliano, J. Lubel, L. Bourke, D. Simmons and S. K. Roberts (2022). "Impact of renaming NAFLD to MAFLD in an Australian regional cohort: Results from a prospective population-based study." J Gastroenterol Hepatol **37**(2): 395-403.

Kemp, W. R., Stuart (2013). "FibroScan and transient elastography." Australian Journal for General Practitioners **42**: 468-471.

Kovatsch, A., H. Honcharova-Biletska, D. Segna, K. Steigmiller, S. Blümel, R. A. Deibel, T. Kühlewindt, G. Leinenkugel, S. Müller, E. Furrer, K. Schawkat, C. S. Reiner, A. Weber, B. Müllhaupt, M. Scharl, C. Gubler and C. Jüngst (2023). "Performance of two-dimensional shear wave elastography and transient elastography compared to liver biopsy for staging of liver fibrosis." European Journal of Clinical Investigation **53**(7): e13980.

Lim, G. E. H., A. Tang, C. H. Ng, Y. H. Chin, W. H. Lim, D. J. H. Tan, J. N. Yong, J. Xiao, C. W. Lee, M. Chan, N. W. Chew, E. X. Xuan Tan, M. S. Siddiqui, D. Huang, M. Noureddin, A. J. Sanyal and M. D. Muthiah (2023). "An Observational Data Meta-analysis on the Differences in Prevalence and Risk Factors Between MAFLD vs NAFLD." Clin Gastroenterol Hepatol **21**(3): 619-629.e617.

Losurdo, G., I. Ditonno, D. Novielli, F. Celiberto, A. Iannone, A. Castellaneta, P. Dell’Aquila, N. Ranaldo, M. Rendina, M. Barone, E. Ierardi and A. Di Leo (2024). "Comparison of Transient Elastography and Point Shear Wave Elastography for Analysis of Liver Stiffness: A Prospective Study." Diagnostics **14**(6): 604.

MAFLD Consensus Statement Working Group (2024). Metabolic dysfunction-associated fatty liver disease (MAFLD) Consensus Statement. Melbourne, Gastroenterological Society of Australia.

Matthews, K., A. MacGilchrist, M. Coulter-Smith, J. Jones and R. Cetnarskyj (2019). "A nurse-led FibroScan(®) outreach clinic encourages socially deprived heavy drinkers to engage with liver services." J Clin Nurs **28**(3-4): 650-662.

Medical Services Advisory Committee (2016). 1366 - Transient Elastography at 50Hz for the diagnosis of Liver Fibrosis in patients with confirmed Hepatitis B or confirmed Hepatitis C.

NSW Health. (2024). "Liver dysfunction in adult patients." 2024, from <https://www.health.nsw.gov.au/outpatients/referrals/Pages/liver-dysfunction.aspx>.

Petta, S., G. Sebastiani, M. Viganò, J. Ampuero, V. Wai-Sun Wong, J. Boursier, A. Berzigotti, E. Bugianesi, A. L. Fracanzani, C. Cammà, M. Enea, M. D. Grottes, V. Di Marco, R. Younes, A. Keyrouz, S. Mazzola, Y. Mendoza, G. Pennisi, M. Romero-Gomez, A. Craxì and V. de Ledinghen (2021). "Monitoring Occurrence of Liver-Related Events and Survival by Transient Elastography in Patients With Nonalcoholic Fatty Liver Disease and Compensated Advanced Chronic Liver Disease." Clin Gastroenterol Hepatol **19**(4): 806-815.e805.

Pipitone, R. M., C. Ciccioli, G. Infantino, C. La Mantia, S. Parisi, A. Tulone, G. Pennisi, S. Grimaudo and S. Petta (2023). "MAFLD: a multisystem disease." Ther Adv Endocrinol Metab **14**: 20420188221145549.

Rinella, M. E., B. A. Neuschwander-Tetri, M. S. Siddiqui, M. F. Abdelmalek, S. Caldwell, D. Barb, D. E. Kleiner and R. Loomba (2023). "AASLD Practice Guidance on the clinical assessment and management of nonalcoholic fatty liver disease." Hepatology **77**(5).

Sangro, P., M. de la Torre Aláez, B. Sangro and D. D’Avola (2023). "Metabolic dysfunction–associated fatty liver disease (MAFLD): an update of the recent advances in pharmacological treatment." Journal of Physiology and Biochemistry **79**(4): 869-879.

Thorhauge, K. H., G. Semmler, S. Johansen, K. P. Lindvig, M. Kjærgaard, J. K. Hansen, N. Torp, C. D. Hansen, P. Andersen, B. S. Hofer, W. Gu, M. Israelsen, M. Mandorfer, T. Reiberger, J. Trebicka, M. Thiele and A. Krag (2024). "Using liver stiffness to predict and monitor the risk of decompensation and mortality in patients with alcohol-related liver disease." Journal of Hepatology **81**(1): 23-32.

Vancells Lujan, P., E. Viñas Esmel and E. Sacanella Meseguer (2021). "Overview of Non-Alcoholic Fatty Liver Disease (NAFLD) and the Role of Sugary Food Consumption and Other Dietary Components in Its Development." Nutrients **13**(5).

Vaz, K., D. Clayton-Chubb, A. Majeed, J. Lubel, D. Simmons, W. Kemp and S. K. Roberts (2023). "Current understanding and future perspectives on the impact of changing NAFLD to MAFLD on global epidemiology and clinical outcomes." Hepatology International **17**(5): 1082-1097.

Vilar-Gomez, E., L. Calzadilla-Bertot, V. Wai-Sun Wong, M. Castellanos, R. Aller-de la Fuente, M. Metwally, M. Eslam, L. Gonzalez-Fabian, M. Alvarez-Quiñones Sanz, A. F. Conde-Martin, B. De Boer, D. McLeod, A. W. Hung Chan, N. Chalasani, J. George, L. A. Adams and M. Romero-Gomez (2018). "Fibrosis Severity as a Determinant of Cause-Specific Mortality in Patients With Advanced Nonalcoholic Fatty Liver Disease: A Multi-National Cohort Study." Gastroenterology **155**(2): 443-457.e417.

Vilar-Gomez, E., R. Vuppalanchi, S. Gawrieh, N. Samala and N. Chalasani (2023). "CAP and LSM as determined by VCTE are independent predictors of all-cause mortality in the US adult population." Hepatology **77**(4): 1241-1252.

Woreta, T. A., M. L. Van Natta, M. Lazo, A. Krishnan, B. A. Neuschwander-Tetri, R. Loomba, A. Mae Diehl, M. F. Abdelmalek, N. Chalasani, S. Gawrieh, S. Dasarathy, R. Vuppalanchi, M. S. Siddiqui, K. V. Kowdley, A. McCullough, N. A. Terrault, C. Behling, D. E. Kleiner, M. Fishbein, P. Hertel, L. A. Wilson, E. P. Mitchell, L. A. Miriel, J. M. Clark, J. Tonascia and A. J. Sanyal (2022). "Validation of the accuracy of the FAST™ score for detecting patients with at-risk nonalcoholic steatohepatitis (NASH) in a North American cohort and comparison to other non-invasive algorithms." PLoS One **17**(4): e0266859.

Younossi, Z. M., S. A. Alqahtani, K. Alswat, Y. Yilmaz, C. Keklikkiran, J. Funuyet-Salas, M. Romero-Gómez, J. G. Fan, M. H. Zheng, M. El-Kassas, L. Castera, C. J. Liu, V. Wai-Sun Wong, S. Zelber-Sagi, A. M. Allen, B. Lam, S. Treeprasertsuk, S. Hameed, H. Takahashi, T. Kawaguchi, J. M. Schattenberg, A. Duseja, P. N. Newsome, S. Francque, C. W. Spearman, M. I. Castellanos Fernández, P. Burra, S. K. Roberts, W. K. Chan, M. Arrese, M. Silva, M. Rinella, A. K. Singal, S. Gordon, M. Fuchs, N. Alkhouri, K. Cusi, R. Loomba, J. Ranagan, W. Eskridge, A. Kautz, J. P. Ong, M. Kugelmas, Y. Eguchi, M. Diago, M. L. Yu, L. Gerber, L. Fornaresio, F. Nader, L. Henry, A. Racila, P. Golabi, M. Stepanova, P. Carrieri and J. V. Lazarus (2024). "Global survey of stigma among physicians and patients with nonalcoholic fatty liver disease." J Hepatol **80**(3): 419-430.